## Application Note
Application Note
The measurements made using many analytical instruments, like plate readers, require the conversion from a raw signal to a concentration or other known readout. For example, a ubiquitous Organ-Chip readout is the concentration of a given substance (either biological or pharmaceutical), in the Chip effluent. Typical assays on a plate reader, however, yield a raw signal, like optical density or fluorescence intensity. The conversion from signal intensity to the readout of interest is performed using a standard curve. The standard curve process requires: first, the preparation of solutions of known concentrations; second, the quantification of the signal intensity of those solutions on an analytical instrument like a plate reader; and third, the establishment of a relationship between the measured signal and known concentrations through some curve fitting method. This relationship can then be used to convert the measured signal intensity from experimental samples to the particular readout, like concentration. Like other standard curve calculators, the calculator within this excel can be used to establish the relationship between the measured signal from an analytical instrument to known concentrations. After entering the measured signal and the corresponding known concentrations in the "Standard Curve" tab, a curve is fit to the data using a log-log linear regression, which minimizes the percent error between the data and the fitted curve. This ensures a "best-fit" for both relatively low and high concentrations. The equation corresponding to this curve is displayed on a plot of the data/best-fit curve and additionally saved in the calculator's memory to convert the signal from experimental samples of unknown concentrations. To analyze the results from an entire plate, simply copy and paste plate reader results/signal into the tab marked "Measurement"; the calculator will take the equation found in the "Standard Curve" tab and apply it to the signal in order to automatically calculate and display the corresponding readout. While this readout will usually be concentration, this calculator applies broadly to any readout and any signal. The results can be copied and pasted for further processing and analysis (e.g. using an output like "effluent concentrations" of a tracer molecule to then calculate apparent permeability).
© Emulate, Inc., 2019. All rights reserved.
The technology disclosed in this document may be covered by one or more patents or patent applications owned by or licensed to Emulate, Inc. No license is granted herein. Further information is available by contacting Emulate.

## Standard Curve
STANDARD CURVE INPUT | [5 empty] | REGRESSION ANALYSIS
Concentration (e.g. µM) | Measured Value (i.e. Optical Density) | Measured Value (i.e. Optical Density) | Measured Value (i.e. Optical Density) | Measured Value (i.e. Optical Density) |  | Average Signal | Standard Deviation | Residuals (Difference in Curve vs. Data) | % Error
0 | [5 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
[6 empty] | - | - | - | -
Directions
Enter concentrations in first column
Enter corresponding measured values in remaining columns
Warning Key |  |  |  |  | 24359.5 | Warning Key
Below lower limit of detection - excluded from curve | [5 empty] | Percent error is large
Varies by ±20% of mean - still included in analysis
Please enter a concentration
Recommendation: enter at least three measured values
Invalid entry
© Emulate, Inc., 2019. All rights reserved.
The technology disclosed in this document may be covered by one or more patents or patent applications owned by or licensed to Emulate, Inc. No license is granted herein. Further information is available by contacting Emulate.

## Measurement
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | RAW DATA
B
C
D
E
F
G
H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | - | - | - | - | - | - | - | - | - | - | - | CONCENTRATION
B | - | - | - | - | - | - | - | - | - | - | - | -
C | - | - | - | - | - | - | - | - | - | - | - | -
D | - | - | - | - | - | - | - | - | - | - | - | -
E | - | - | - | - | - | - | - | - | - | - | - | -
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
© Emulate, Inc., 2019. All rights reserved.
The technology disclosed in this document may be covered by one or more patents or patent applications owned by or licensed to Emulate, Inc. No license is granted herein. Further information is available by contacting Emulate.
Directions:
Complete Standard Curve tab
Enter raw data from analytical instrument
Review concentrations calculated from standard curve
Concentration Notes:
Highlighted values are extrapolated
Red text correlates to raw data that is below the lower limit of detection

## Curve Calculations (hidden)
Mechanism for "StdDevIF(…)"
[15 empty] | Input Row | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
[15 empty] | Raw Concentration | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | [51 empty] | 2 Values: | FALSE
[10 empty] | Avg at 0 | Slope | Intercept |  |  | Average | [68 empty] | Slope | #N/A | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| Inputs filtered for blanks, non-numeric, and negative concentrations | [8 empty] | #N/A | #DIV/0! | #DIV/0! |  |  | Std Dev | [19 empty] | Count |  | Avg Factor |  |  | Std Dev Factor | [20 empty] | Sorting Mechanism | [22 empty] | Int | #N/A |  |  |  | Optional Regression by "Hand" | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
|  | Concentration | Value 1 | Value 2 | Value 3 | Value 4 | List format of input table | [7 empty] | Count | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  | 20% |  |  | 1 | [6 empty] | Outlier Analysis by Average |  |  |  |  | Outlier Analysis by Std Dev |  |  |  |  | Unsorted Table for Graph |  |  | Column | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 |  | Sorted Table of Values for Graph | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y = m*x +b
|  | 0 | 1 | 2 | 3 | 4 | Input Row | Input Column | Raw Concentration | Raw Value | Adj Conc | Adj Value | Filtered Conc | Filtered Value | [18 empty] | Input Row | Raw Concentration | Filt Conc | Count | Average | Avg Lower Bound | Avg Higher Bound | Std Dev | Std Lower Bound | Std Higher Bound | Calc Conc | Residual | % Error |  |  | 1 | 2 | 3 | 4 |  | 1 | 2 | 3 | 4 | Conc | Avg | Std | Sorted Conc | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Column | Sort Conc | Graph Conc | Graph Avg | Graph Std |  | Tables for Graphs |  |  |  |  | x*y | x^2 | y^2 | X Mean | Y Mean | x - X Mean | y - Y Mean | (x-X)*(y-Y) | (x-X)^2 | Variable | Value | Matches Excel
| 0 | 0 | - | - | - | - | 0 | 1 | 0 | - | - | - | - | - | Filtered Value | [17 empty] | 0 | 0 | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 0 | FALSE | FALSE | FALSE | FALSE | 0 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 1 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | 0 | 0 | #N/A | #N/A |  | Concentration | Average | SD |  | Measured - Regression | - | - | - | - | - | - | - | - | - | m | #DIV/0! | #DIV/0! | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 1 | - | - | - | - | - | 0 | 2 | 0 | - | - | - | - | - | Filtered Value | [17 empty] | 1 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 1 | FALSE | FALSE | FALSE | FALSE | 1 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 2 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | b | #DIV/0! | #DIV/0! | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 2 | - | - | - | - | - | 0 | 3 | 0 | - | - | - | - | - | Filtered Value | [17 empty] | 2 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 2 | FALSE | FALSE | FALSE | FALSE | 2 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 3 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 3 | - | - | - | - | - | 0 | 4 | 0 | - | - | - | - | - | Filtered Value | [17 empty] | 3 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 3 | FALSE | FALSE | FALSE | FALSE | 3 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 4 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 3 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 4 | - | - | - | - | - | 1 | 1 | - | - | - | - | - | - | Filtered Value | [17 empty] | 4 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 4 | FALSE | FALSE | FALSE | FALSE | 4 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 5 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 4 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 5 | - | - | - | - | - | 1 | 2 | - | - | - | - | - | - | Filtered Value | [17 empty] | 5 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 5 | FALSE | FALSE | FALSE | FALSE | 5 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 6 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 5 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 6 | - | - | - | - | - | 1 | 3 | - | - | - | - | - | - | Filtered Value | [17 empty] | 6 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 6 | FALSE | FALSE | FALSE | FALSE | 6 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 7 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 7 | - | - | - | - | - | 1 | 4 | - | - | - | - | - | - | Filtered Value | [17 empty] | 7 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 7 | FALSE | FALSE | FALSE | FALSE | 7 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 8 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 7 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 8 | - | - | - | - | - | 2 | 1 | - | - | - | - | - | - | Filtered Value | [17 empty] | 8 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 8 | FALSE | FALSE | FALSE | FALSE | 8 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 9 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 8 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 9 | - | - | - | - | - | 2 | 2 | - | - | - | - | - | - | Filtered Value | [17 empty] | 9 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 9 | FALSE | FALSE | FALSE | FALSE | 9 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 10 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 9 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 10 | - | - | - | - | - | 2 | 3 | - | - | - | - | - | - | Filtered Value | [17 empty] | 10 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 10 | FALSE | FALSE | FALSE | FALSE | 10 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 11 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 10 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 11 | - | - | - | - | - | 2 | 4 | - | - | - | - | - | - | Filtered Value | [17 empty] | 11 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 11 | FALSE | FALSE | FALSE | FALSE | 11 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 12 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 11 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 12 | - | - | - | - | - | 3 | 1 | - | - | - | - | - | - | Filtered Value | [17 empty] | 12 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 12 | FALSE | FALSE | FALSE | FALSE | 12 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 13 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 12 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 13 | - | - | - | - | - | 3 | 2 | - | - | - | - | - | - | Filtered Value | [17 empty] | 13 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 13 | FALSE | FALSE | FALSE | FALSE | 13 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 14 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 13 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 14 | - | - | - | - | - | 3 | 3 | - | - | - | - | - | - | Filtered Value | [17 empty] | 14 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 14 | FALSE | FALSE | FALSE | FALSE | 14 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 15 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 14 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 15 | - | - | - | - | - | 3 | 4 | - | - | - | - | - | - | Filtered Value | [17 empty] | 15 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 15 | FALSE | FALSE | FALSE | FALSE | 15 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 16 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 15 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
| 16 | - | - | - | - | - | 4 | 1 | - | - | - | - | - | - | Filtered Value | [17 empty] | 16 | - | - | 0 | - | - | - | - | - | - | #N/A | - | - |  | 16 | FALSE | FALSE | FALSE | FALSE | 16 | FALSE | FALSE | FALSE | FALSE | 0 | #N/A | #N/A | Conc 17 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 16 | - | 0 | #N/A | #N/A |  | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 4 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | #N/A | #N/A |  | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 4 | 3 | - | - | - | - | - | - | Filtered Value | [19 empty] | Has Zero | [8 empty] | Empty |  | Empty | [42 empty] | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
Empty: | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | 4 | 4 | - | - | - | - | - | - | Filtered Value | [19 empty] | FALSE | [8 empty] | TRUE |  | TRUE | [35 empty] | Min | 0 | Full Standard Curve Regression |  |  |  |  | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 5 | 1 | - | - | - | - | - | - | Filtered Value | [66 empty] | Max | 0 | Concentration | N/A | N/A | N/A | Calculated Signal | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 5 | 2 | - | - | - | - | - | - | Filtered Value | [66 empty] | Interval | 0 | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 5 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 5 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 6 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 6 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 6 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 6 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 7 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 7 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 7 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 7 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 8 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 8 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 8 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 8 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 9 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 9 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 9 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 9 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 10 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 10 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 10 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 10 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 11 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 11 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 11 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 11 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 12 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 12 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 12 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 12 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 13 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 13 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 13 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 13 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 14 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 14 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 14 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 14 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 15 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 15 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 15 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 15 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 16 | 1 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 16 | 2 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 16 | 3 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[7 empty] | 16 | 4 | - | - | - | - | - | - | Filtered Value | [68 empty] | 0 | - | - | - | #N/A | - | - | - | - | - | - | - | - | - | bar: Mechanism for "StdDevIF(…)" 0 to Mechanism for "StdDevIF(…)" 16
[84 empty] | 0 | - | - | - | #N/A
[84 empty] | 0 | - | - | - | #N/A
[84 empty] | 0 | - | - | - | #N/A
[84 empty] | 0 | - | - | - | #N/A
[82 empty] | Min | 0 | Zoomed-In Standard Curve
[82 empty] | Max | - | Concentration | N/A | N/A | N/A | Calculated Signal
[82 empty] | Step | #VALUE! | 0 | - | - | - | #N/A
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
[84 empty] | #VALUE! | - | - | - | #VALUE!
Log-Log Linear Regression
[84 empty] | Y-Intercept | Slope | Blank
[84 empty] | #DIV/0! | #DIV/0! | #N/A
Equation - TEXT
[84 empty] | N/A | N/A | N/A
Y = N/A*X + N/A
R2
[84 empty] | #DIV/0! | Value
[84 empty] | #DIV/0! | Text
Equation - TEXT
[84 empty] | #DIV/0! | Text
Y = (X - N/A) / N/A
Log-Log Text
log(signal - N/A) - N/A
N/A
Input table is copied with negative concentrations, non-numeric entries, and empty entries treated as "-" rather than zero.
Booleans below control the display of the directions and warning key for the input table.
List view of input table created. Adjusted values and concentrations found after removing values that will break the log. Filtered concentrations are all concentrations with values that won't break the log or are associated with zero concentration. Filtered values are all values that won't break the log or are associated with zero concentration.
To get around using Excel's lack of a StdDevIF function and VBA, this table is all values filtered for the concentration they are associated with. This way the stddev of each column corresponds to all valid values for that concentration.
Values reformatted like output table. For outlier analysis, lower bounds using %-of-mean and stds-from-mean can be found. Calculated concentrations from the average at each given concentration can be used to find a residual and percent error.
Booleans below are used to display the warning key for the output table
Rather than cram the following equations into the conditional formatting input, the input table outlier analysis conditionals are mapped out here.
If Concentration are out of order in the input table, the plot will double back on itself. Without using VBA this was the most immediate way to implement an auto sorting list.
Final tables to make graphs out of. Line of best fit is also formatted for display.
In Certain cases, interpolation needed to make regression line look smooth, hence the two tables below.
Linear regression by hand if needed.

## Measurement Calculations (hidden)
- | - | - | - | - | - | - | - | - | - | - | - |  | Signal | Concentration
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
[13 empty] | #N/A | 0
[13 empty] | #N/A | 0
[13 empty] | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | - |  | #N/A | 0
- | - | - | - | - | - | - | - | - | - | - | -
[12 empty] | Max | #N/A | 0
[12 empty] | Min | #N/A | 0
[12 empty] | Y-Intercept | Slope | Blank | In Error
[12 empty] | #DIV/0! | #DIV/0! | #N/A | TRUE